## Station probes max
Station max | Most recent probe change before 2017 | Date | Av max 2 years before | Av max 2 years after | # of rain days 2 years before | # of rain days 2 years after | * | Change in rain days | Change in max
Adelaide 23090 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0626) Surface Observations | 2003-10-15 | 22.27 | 22.7 | 238 | 255 |  | 17 | 0.43
Albany 9999 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 10263/1) Surface Observations | 2011-10-12 | 20.36 | 21.09 | 315 | 320 |  | 5 | 0.73
Alice Springs 15590 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278) Surface Observations | 2011-11-11 | 28.33 | 30.22 | 99 | 72 |  | -27 | 1.89
Amberley 40004 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 199) Surface Observations | 1997-07-03 | 26.97 | 26.78 | 210 | 233 |  | 23 | -0.19
Bathurst 63291 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10287/1) Surface Observations | 2012-01-20 | 19.8 | 21.55 | 259 | 209 |  | -50 | 1.75
Birdsville 38026 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0473) Surface Observations | 2000-06-27 | 30.95 | 31.76 | 63 | 71 |  | 8 | 0.81
Bourke 48245 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 107822-6) Surface Observations | 2015-10-13 | 28.65 | 28.72 | 96 | 129 |  | 33 | 0.07
Bridgetown 9617 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0232) Surface Observations | 1998-02-24 | 22.78 | 22.72 | 280 | 306 |  | 26 | -0.06
Brisbane 40842 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 212) Surface Observations | 2013-01-28 | 24.96 | 25.54 | 247 | 233 |  | -14 | 0.58
Broome 3003 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10281/1) Surface Observations | 2015-09-01 | 32.84 | 33.14 | 125 | 104 |  | -21 | 0.3
Bundaberg 39128 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10259) Surface Observations | 2010-07-01 | 27.04 | 26.82 | 207 | 249 |  | 42 | -0.22
Burketown 29077 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0736) Surface Observations | 2007-05-16 | 33.32 | 33.31 | 110 | 124 |  | 14 | -0.01
Butlers Gorge 96003 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10215) Surface Observations | 2008-05-20 | 13.4 | 13.41 | 402 | 506 | * 2006-07 rain from Derwent Bridge | 104 | 0.01
Cabramurra 72161 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 252) Surface Observations | 1998-12-11 | 11.86 | 12.35 | 262 | 189 | * 1996-97 rain from Cabramurra 72091 | -73 | 0.49
Cairns 31011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0738) Surface Observations | 2004-03-15 | 29.63 | 29.19 | 292 | 348 |  | 56 | -0.44
Camooweal 37010 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - NONE) Surface Observations | 2003-03-18 | 34.27 | 33.81 | 58 | 112 |  | 54 | -0.46
Canberra 70351 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10175) Surface Observations | 2008-09-09 | 21.52 | 20.95 | 180 | 209 | * 2006-07 rain from Canberra 70014 | 29 | -0.57
Cape Borda 22823 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0635) Surface Observations | 2002-07-15 | 19.13 | 18.72 | 315 | 321 | * 2000-01 rain from Cape Borda 22801 | 6 | -0.41
Cape Bruny 94198 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0492) Surface Observations | 2006-08-30 | 15.61 | 16.19 | 346 | 414 |  | 68 | 0.58
Cape Leeuwin 9518 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0381) Surface Observations | 2004-09-01 | 19.8 | 19.73 | 344 | 341 |  | -3 | -0.07
Cape Moreton 40043 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 704) Surface Observations | 2011-09-29 | 24.25 | 24.03 | 283 | 268 |  | -15 | -0.22
Cape Otway 90015 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10284) Surface Observations | 2010-11-11 | 17.1 | 17.51 | 384 | 385 |  | 1 | 0.41
Carnarvon 6011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10508) Surface Observations | 2011-03-29 | 27.91 | 28.9 | 73 | 65 |  | -8 | 0.99
Ceduna 18012 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10134) Surface Observations | 2015-05-05 | 24.81 | 23.94 | 165 | 203 |  | 38 | -0.87
Charleville 44021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0488) Surface Observations | 2004-04-06 | 29.43 | 29.79 | 82 | 109 |  | 27 | 0.36
Cobar 48027 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0662) Surface Observations | 2016-09-16 | 26.34 | 27.45 | 139 | 101 |  | -38 | 1.11
Coffs Harbour 59151 | INSTALL Temperature Probe - Dry Bulb (Type WIKA TR40 S/N - 119005-33) Surface Observations | 2013-08-01 | 23.42 | 24.11 | 319 | 287 | * 2011-12 rain from Coffs 59040 | -32 | 0.69
Cunderdin 10286 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0176) Surface Observations | 1996-08-20 | 25.51 | 25.69 | 145 | 209 | * 1994-95 rain from Cunderdin 10035 | 64 | 0.18
Dalwallinu 8297 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 299) Surface Observations | 1997-04-23 | 26.13 | 26.45 | 179 | 159 | * 1995-96 rain from Dalwallinu 8039 | -20 | 0.32
Darwin 14015 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0537) Surface Observations | 2001-08-08 | 31.71 | 32.63 | 287 | 220 |  | -67 | 0.92
Deniliquin 74258 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 203) Surface Observations | 1997-05-23 | 22.19 | 23.18 | 187 | 200 |  | 13 | 0.99
Dubbo 65070 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 10722-10) Surface Observations | 2011-11-15 | 24.38 | 25.2 | 202 | 159 |  | -43 | 0.82
Eddystone 92045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0665) Surface Observations | 2004-10-13 | 18.06 | 17.95 | 317 | 299 |  | -18 | -0.11
Esperance 9789 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0643) Surface Observations | 2010-03-03 | 21.72 | 22.67 | 277 | 277 |  | 0 | 0.95
Eucla 11003 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0485) Surface Observations | 1999-07-16 | 23.26 | 22.73 | 212 | 248 |  | 36 | -0.53
Forrest 11052 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10102) Surface Observations | 2011-12-13 | 25.99 | 27.62 | 129 | 100 |  | -29 | 1.63
Gabo Island 84016 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10202) Surface Observations | 2007-11-29 | 18.77 | 18.69 | 253 | 295 |  | 42 | -0.08
Gayndah 39066 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0577) Surface Observations | 2003-01-24 | 29.38 | 29.39 | 121 | 162 |  | 41 | 0.01
Georgetown 30124 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 784) Surface Observations | 2004-05-31 | 33.89 | 32.8 | 101 | 124 |  | 23 | -1.09
Geraldton 8315 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 10266/1) Surface Observations | 2011-07-11 | 26.73 | 27.23 | 160 | 148 |  | -12 | 0.5
Giles 13017 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0324) Surface Observations | 2009-08-26 | 29.96 | 28.83 | 85 | 131 |  | 46 | -1.13
Grove 94220 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0606) Surface Observations | 2004-06-11 | 17.72 | 17.48 | 323 | 381 | * 2002-03 rain from Grove 94069 | 58 | -0.24
Halls Creek 2079 | INSTALL Temperature Probe - Dry Bulb (Type WIKA TR40 S/N - 113069-24) Surface Observations | 2015-08-07 | 33.94 | 34.34 | 143 | 109 |  | -34 | 0.4
Hobart 94029 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10238) Surface Observations | 2007-11-08 | 17.27 | 17.74 | 296 | 320 |  | 24 | 0.47
Horn Island 27058 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0719) Surface Observations | 2006-08-10 | 30.33 | 30.55 | 263 | 283 |  | 20 | 0.22
Inverell 56018 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10303) Surface Observations | 2009-10-08 | 23 | 22.5 | 222 | 233 | * Not ACORN | 11 | -0.5
Kalgoorlie 12038 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0772) Surface Observations | 2011-11-07 | 26 | 25.97 | 107 | 107 |  | 0 | -0.03
Kalumburu 1019 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 509) Surface Observations | 2001-08-10 | 33.59 | 35.15 | 199 | 174 |  | -25 | 1.56
Katanning 10916 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 377) Surface Observations | 1998-12-08 | 22.44 | 22.72 | 232 | 206 |  | -26 | 0.28
Launceston 91311 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0777) Surface Observations | 2004-06-14 | 17.59 | 17.33 | 164 | 275 |  | 111 | -0.26
Laverton 87031 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 8830) Surface Observations | 1997-02-22 | 18.62 | 19.72 | 311 | 260 |  | -51 | 1.1
Learmonth 5007 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - NONE) Surface Observations | 1994-08-29 | 30.89 | 31.56 | 63 | 74 |  | 11 | 0.67
Longreach 36031 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0165) Surface Observations | 1996-05-31 | 31.42 | 31.7 | 76 | 114 |  | 38 | 0.28
Low Head 91293 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 555) Surface Observations | 2015-01-13 | 16.99 | 16.93 | 279 | 255 |  | -24 | -0.06
Mackay 33119 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-10) Surface Observations | 2013-03-06 | 26.26 | 27.1 | 277 | 259 |  | -18 | 0.84
Marble Bar 4106 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 604) Surface Observations | 2002-09-19 | 33.82 | 35.25 | 108 | 87 |  | -21 | 1.43
Marree 17126 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0459) Surface Observations | 2001-06-27 | 29.55 | 29.91 | 79 | 50 |  | -29 | 0.36
Meekatharra 7045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0174) Surface Observations | 2008-01-22 | 29.73 | 30.16 | 90 | 73 |  | -17 | 0.43
Melbourne 86338 | INSTALL Temperature Probe - Dry Bulb (Type Unknown S/N - 119005-34) Surface Observations | 2013-05-20 | 20.84 | 21.04 | 259 | 231 |  | -28 | 0.2
Mildura 76031 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 654) Surface Observations | 2012-06-27 | 23.86 | 25.78 | 172 | 124 |  | -48 | 1.92
Miles 42112 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0075) Surface Observations | 1997-07-10 | 27.39 | 27.3 | 148 | 163 |  | 15 | -0.09
Morawa 8296 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 86) Surface Observations | 1997-02-25 | 27.91 | 28.18 | 150 | 150 |  | 0 | 0.27
Moree 53115 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0447) Surface Observations | 2000-06-16 | 25.81 | 27.08 | 181 | 135 |  | -46 | 1.27
Mt Gambier 26021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0732) Surface Observations | 2009-08-27 | 19.86 | 19.35 | 363 | 396 |  | 33 | -0.51
Nhill 78015 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0623) Surface Observations | 2012-04-11 | 22.03 | 22.85 | 252 | 235 |  | -17 | 0.82
Normanton 29063 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0578) Surface Observations | 2001-04-10 | 32.85 | 34.1 | 169 | 113 |  | -56 | 1.25
Nowra 68072 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0548) Surface Observations | 2000-11-23 | 21.59 | 22.18 | 231 | 238 | * 1998-99 rain from Nowra 68048 | 7 | 0.59
Nuriootpa 23373 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0163) Surface Observations | 1996-08-28 | 20.97 | 21.02 | 239 | 236 | * 1994-95 rain from Nuriootpa 23321 | -3 | 0.05
Oodnadatta 17043 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-15) Surface Observations | 2012-04-17 | 28.53 | 30.77 | 109 | 61 |  | -48 | 2.24
Orbost 84145 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0569) Surface Observations | 2000-11-23 | 20.61 | 20.6 | 291 | 307 | * 1998-99 rain from Orbost 84030 | 16 | -0.01
Perth 9021 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 304) Surface Observations | 1994-06-20 | 23.85 | 24.77 | 235 | 240 |  | 5 | 0.92
Pt Perpendicular 68151 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0017) Surface Observations | 2015-02-05 | 21.18 | 21.1 | 285 | 228 |  | -57 | -0.08
Port Hedland 4032 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0607) Surface Observations | 2000-09-11 | 33.23 | 33.52 | 89 | 61 |  | -28 | 0.29
Port Lincoln 18192 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0517) Surface Observations | 2002-03-20 | 20.88 | 20.99 | 289 | 266 |  | -23 | 0.11
Port Macquarie 60139 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10337) Surface Observations | 2011-11-22 | 23.83 | 23.93 | 183 | 273 |  | 90 | 0.1
Rabbit Flat 15666 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0020) Surface Observations | 1997-05-27 | 34.67 | 34.24 | 76 | 122 | * 1995-96 rain from Rabbit Flat 15548 | 46 | -0.43
Richmond Qld 30161 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0200) Surface Observations | 1998-02-19 | 33.09 | 32.45 | 86 | 123 |  | 37 | -0.64
Richmond NSW 67105 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10515) Surface Observations | 2011-10-04 | 24.19 | 24.6 | 249 | 221 |  | -28 | 0.41
Rockhampton 39083 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0216) Surface Observations | 1993-04-01 | 28.79 | 28.79 | 156 | 160 |  | 4 | 0
Rutherglen 82039 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 308) Surface Observations | 1998-01-29 | 21.66 | 21.83 | 219 | 244 |  | 25 | 0.17
Sale 85072 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0141) Surface Observations | 1996-06-11 | 19.34 | 20.09 | 308 | 265 |  | -43 | 0.75
Scone 61363 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278/1) Surface Observations | 2011-10-25 | 24.35 | 25 | 215 | 197 |  | -18 | 0.65
Snowtown 21133 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0340) Surface Observations | 1998-04-02 | 23.47 | 24.1 | 165 | 216 |  | 51 | 0.63
St George 43109 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0194) Surface Observations | 1997-05-01 | 28 | 27.06 | 127 | 155 |  | 28 | -0.94
Sydney 66062 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10309) Surface Observations | 2011-06-07 | 22.76 | 23.2 | 272 | 261 |  | -11 | 0.44
Tarcoola 16098 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0222) Surface Observations | 1997-09-30 | 27.56 | 27.04 | 99 | 111 |  | 12 | -0.52
Tennant Creek 15135 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10125) Surface Observations | 2006-03-08 | 32.55 | 32.42 | 84 | 77 |  | -7 | -0.13
Thargomindah 45025 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0451) Surface Observations | 1999-07-21 | 29.02 | 28.92 | 110 | 100 |  | -10 | -0.1
Tibooburra 46126 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0167) Surface Observations | 1997-09-22 | 27.42 | 27.5 | 86 | 105 |  | 19 | 0.08
Townsville 32040 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0246) Surface Observations | 2002-09-17 | 29.34 | 29.88 | 175 | 150 |  | -25 | 0.54
Victoria River Downs 14825 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0319) Surface Observations | 2009-06-17 | 34.4 | 33.72 | 137 | 166 |  | 29 | -0.68
Wagga Wagga 72150 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - NONE) Surface Observations | 1994-10-21 | 21.39 | 21.3 | 246 | 226 |  | -20 | -0.09
Walgett 52088 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0202) Surface Observations | 1997-05-21 | 26.31 | 26.52 | 136 | 168 |  | 32 | 0.21
Wandering 10917 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 400) Surface Observations | 1998-12-11 | 24.15 | 23.86 | 265 | 241 |  | -24 | -0.29
Weipa 27045 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0330) Surface Observations | 2000-11-11 | 32.59 | 33.1 | 287 | 240 |  | -47 | 0.51
Wilcannia 46012 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0113) Surface Observations | 2000-01-19 | 26.24 | 27.57 | 117 | 94 | * 1998-99 rain from Wilcannia 46043 | -23 | 1.33
Williamtown 61078 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 407) Surface Observations | 2016-09-02 | 24 | 24.52 | 205 | 269 |  | 64 | 0.52
Wilsons Prom 85096 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 587) Surface Observations | 2000-09-18 | 16.56 | 16.88 | 471 | 351 |  | -120 | 0.32
Woomera 16001 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10114) Surface Observations | 2011-06-28 | 26.22 | 26.98 | 107 | 75 |  | -32 | 0.76
Wyalong 50017 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0397) Surface Observations | 1999-04-08 | 23.74 | 23.45 | 159 | 201 | * 1997-98 rain from Wyalong 73054 | 42 | -0.29
Yamba 58012 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10224) Surface Observations | 2007-09-20 | 23.7 | 23.95 | 358 | 310 |  | -48 | 0.25
Averages | All 101 temperature probe changes | 2005-01-22 08:48 | 25.2903 | 25.5953 | 201.3861 | 202.5644 | Averages | 1.1782 | 0.30505
| 75 Rosemount temperature probe changes | 2002-10-24 14:05 | 25.6008 | 25.8499 | 196.64 | 198.84 | Averages >1.18 | 34.2292 | -0.044583
| 26 non-Rosemount temperature probe changes | 2011-07-18 | 24.3946 | 24.8612 | 215.0769 | 213.3077 | Averages <1.18 | -28.7547 | 0.6217
| 19 Temp Control temperature probe changes | 2010-10-04 20:13 | 23.5916 | 23.9532 | 220.3684 | 226.8947 | Above shows an average +1.18 rainfall
| 6 WIKA temperature probe changes | 2013-09-19 04:00 | 27.53 | 28.3733 | 191 | 167.3333 | days in the two years after vs before probe
| 1990s (29 stations) | 1997-05-02 18:12 | 25.2 | 25.311 | 178.1724 | 187.0345 | changes. The second column shows that
| 2000s (40 stations) | 2004-05-30 04:48 | 25.8478 | 26.0315 | 214.5 | 220.525 | stations with more than a 1.18 increase in
| 2010s (32 stations) | 2012-11-14 21:45 | 24.6753 | 25.3078 | 206.0312 | 194.1875 | rainfall days had an average maximum
| First two years 0-20C (17 stations) | 2005-06-11 02:49 | 17.4988 | 17.7424 | 317.4706 | 321.2941 | cooling of 0.04C, while stations with less
| First two years 20-30C (65 stations) | 2005-06-13 11:27 | 25.1152 | 25.4455 | 191.0615 | 192.2923 | than a 1.18 change, or a decrease, had an
| First two years 30-40C (19 stations) | 2003-05-22 03:47 | 32.8605 | 33.1342 | 132.8421 | 131.4737 | averaged maximum warming of 0.62C.
Station max | Most recent probe change before 2017 | Date | Av max 2 years before | Av max 2 years after | # of rain days 2 years before | # of rain days 2 years after | * | Change in rain days | Change in max
Formulas:
Date = AVERAGE(C2:[Date, row above])

## Station probes min
Station min | Most recent probe change before 2017 | Date | Av min 2 years before | Av min 2 years after | # of rain days 2 years before | # of rain days 2 years after | * | Change in rain days | Change in min
Adelaide 23090 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0626) Surface Observations | 2003-10-15 | 12.13 | 12.25 | 238 | 255 |  | 17 | 0.12
Albany 9999 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 10263/1) Surface Observations | 2011-10-12 | 10.53 | 11.14 | 315 | 317 |  | 2 | 0.61
Alice Springs 15590 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278) Surface Observations | 2011-11-11 | 13.56 | 12.95 | 99 | 72 |  | -27 | -0.61
Amberley 40004 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 199) Surface Observations | 1997-07-03 | 12.97 | 13.29 | 210 | 233 |  | 23 | 0.32
Bathurst 63291 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10287/1) Surface Observations | 2012-01-20 | 6.89 | 6.63 | 259 | 209 |  | -50 | -0.26
Birdsville 38026 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0473) Surface Observations | 2000-06-27 | 16.06 | 16.15 | 70 | 71 |  | 1 | 0.09
Bourke 48245 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 107822-6) Surface Observations | 2015-10-13 | 13.25 | 14.04 | 96 | 129 |  | 33 | 0.79
Bridgetown 9617 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0232) Surface Observations | 1998-02-24 | 9.22 | 8.63 | 280 | 306 |  | 26 | -0.59
Brisbane 40842 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 212) Surface Observations | 2013-01-28 | 15.39 | 16.12 | 247 | 233 |  | -14 | 0.73
Broome 3003 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10281/1) Surface Observations | 2015-09-01 | 21.87 | 22.56 | 125 | 104 |  | -21 | 0.69
Bundaberg 39128 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10259) Surface Observations | 2010-07-01 | 16.91 | 15.83 | 207 | 249 |  | 42 | -1.08
Burketown 29077 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0736) Surface Observations | 2007-05-16 | 20.98 | 20.59 | 110 | 124 |  | 14 | -0.39
Butlers Gorge 96003 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10215) Surface Observations | 2008-05-20 | 2.56 | 3.26 | 402 | 506 | * 2006-07 rain from Derwent Bridge | 104 | 0.7
Cabramurra 72161 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 252) Surface Observations | 1998-12-11 | 3.93 | 5.2 | 262 | 189 | * 1996-97 rain from Cabramurra 72091 | -73 | 1.27
Cairns 31011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0738) Surface Observations | 2004-03-15 | 20.89 | 21.25 | 292 | 348 |  | 56 | 0.36
Camooweal 37010 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - NONE) Surface Observations | 2003-03-18 | 16.9 | 18.45 | 58 | 112 |  | 54 | 1.55
Canberra 70351 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10175) Surface Observations | 2008-09-09 | 7.69 | 7.37 | 180 | 209 | * 2006-07 rain from Canberra 70014 | 29 | -0.32
Cape Borda 22823 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0635) Surface Observations | 2002-07-15 | 11.9 | 11.49 | 315 | 321 | * 2000-01 rain from Cape Borda 22801 | 6 | -0.41
Cape Bruny 94198 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0492) Surface Observations | 2006-08-30 | 9.15 | 9.25 | 346 | 414 |  | 68 | 0.1
Cape Leeuwin 9518 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0381) Surface Observations | 2004-09-01 | 14.53 | 14.37 | 344 | 341 |  | -3 | -0.16
Cape Moreton 40043 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 704) Surface Observations | 2011-09-29 | 19.02 | 18.58 | 283 | 268 |  | -15 | -0.44
Cape Otway 90015 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10284) Surface Observations | 2010-11-11 | 11.05 | 11.61 | 384 | 385 |  | 1 | 0.56
Carnarvon 6011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10508) Surface Observations | 2011-03-29 | 17.1 | 17.59 | 73 | 65 |  | -8 | 0.49
Ceduna 18012 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10134) Surface Observations | 2015-05-05 | 11.5 | 10.92 | 165 | 203 |  | 38 | -0.58
Charleville 44021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0488) Surface Observations | 2004-04-06 | 13.9 | 14.8 | 82 | 109 |  | 27 | 0.9
Cobar 48027 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0662) Surface Observations | 2016-09-16 | 13.67 | 13.59 | 139 | 101 |  | -38 | -0.08
Coffs Harbour 59151 | INSTALL Temperature Probe - Dry Bulb (Type WIKA TR40 S/N - 119005-33) Surface Observations | 2013-08-01 | 14.18 | 14.56 | 319 | 287 | * 2011-12 rain from Coffs 59040 | -32 | 0.38
Cunderdin 10286 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0176) Surface Observations | 1996-08-20 | 11.18 | 10.49 | 145 | 209 | * 1994-95 rain from Cunderdin 10035 | 64 | -0.69
Dalwallinu 8297 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 299) Surface Observations | 1997-04-23 | 12.05 | 12.62 | 179 | 159 | * 1995-96 rain from Dalwallinu 8039 | -20 | 0.57
Darwin 14015 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0537) Surface Observations | 2001-08-08 | 22.81 | 23.19 | 287 | 220 |  | -67 | 0.38
Deniliquin 74258 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 203) Surface Observations | 1997-05-23 | 9.33 | 9.8 | 187 | 200 |  | 13 | 0.47
Dubbo 65070 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 10722-10) Surface Observations | 2011-11-15 | 10.85 | 9.77 | 202 | 159 |  | -43 | -1.08
Eddystone 92045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0665) Surface Observations | 2004-10-13 | 10.69 | 10.33 | 317 | 299 |  | -18 | -0.36
Esperance 9789 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0643) Surface Observations | 2010-03-03 | 12.18 | 12.65 | 277 | 277 |  | 0 | 0.47
Eucla 11003 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0485) Surface Observations | 1999-07-16 | 12.54 | 12.36 | 212 | 248 |  | 36 | -0.18
Forrest 11052 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10102) Surface Observations | 2011-12-13 | 11.18 | 11.08 | 129 | 100 |  | -29 | -0.1
Gabo Island 84016 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10202) Surface Observations | 2007-11-29 | 12.52 | 12.54 | 253 | 295 |  | 42 | 0.02
Gayndah 39066 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0577) Surface Observations | 2003-01-24 | 14.16 | 14.82 | 121 | 162 |  | 41 | 0.66
Georgetown 30124 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 784) Surface Observations | 2004-05-31 | 18.62 | 19.51 | 101 | 124 |  | 23 | 0.89
Geraldton 8315 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 10266/1) Surface Observations | 2011-07-11 | 13.4 | 13.97 | 160 | 163 |  | 3 | 0.57
Giles 13017 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0324) Surface Observations | 2009-08-26 | 16.15 | 15.72 | 85 | 131 |  | 46 | -0.43
Grove 94220 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0606) Surface Observations | 2004-06-11 | 6.36 | 5.85 | 323 | 381 | * 2002-03 rain from Grove 94069 | 58 | -0.51
Halls Creek 2079 | INSTALL Temperature Probe - Dry Bulb (Type WIKA TR40 S/N - 113069-24) Surface Observations | 2015-08-07 | 20.4 | 20.52 | 143 | 109 |  | -34 | 0.12
Hobart 94029 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10238) Surface Observations | 2007-11-08 | 8.7 | 8.83 | 296 | 320 |  | 24 | 0.13
Horn Island 27058 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0719) Surface Observations | 2006-08-10 | 24.51 | 24.76 | 263 | 283 |  | 20 | 0.25
Inverell 56018 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10303) Surface Observations | 2009-10-08 | 10.2 | 10.55 | 222 | 233 | * Not ACORN | 11 | 0.35
Kalgoorlie 12038 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0772) Surface Observations | 2011-11-07 | 12.43 | 12.51 | 107 | 107 |  | 0 | 0.08
Kalumburu 1019 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 509) Surface Observations | 2001-08-10 | 20.09 | 20.33 | 199 | 174 |  | -25 | 0.24
Katanning 10916 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 377) Surface Observations | 1998-12-08 | 9.44 | 9.72 | 232 | 206 |  | -26 | 0.28
Launceston 91311 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0777) Surface Observations | 2004-06-14 | 6.07 | 5.91 | 164 | 275 |  | 111 | -0.16
Laverton 87031 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 8830) Surface Observations | 1997-02-22 | 8.88 | 9.37 | 311 | 260 |  | -51 | 0.49
Learmonth 5007 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - NONE) Surface Observations | 1994-08-29 | 16.97 | 17.86 | 63 | 74 |  | 11 | 0.89
Longreach 36031 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0165) Surface Observations | 1996-05-31 | 15.91 | 16.51 | 76 | 114 |  | 38 | 0.6
Low Head 91293 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 555) Surface Observations | 2015-01-13 | 10.81 | 10.95 | 279 | 255 |  | -24 | 0.14
Mackay 33119 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-10) Surface Observations | 2013-03-06 | 19 | 19.53 | 277 | 259 |  | -18 | 0.53
Marble Bar 4106 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 604) Surface Observations | 2002-09-19 | 20.87 | 20.41 | 115 | 70 |  | -45 | -0.46
Marree 17126 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0459) Surface Observations | 2001-06-27 | 14.34 | 13.78 | 79 | 50 |  | -29 | -0.56
Meekatharra 7045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0174) Surface Observations | 2008-01-22 | 16.12 | 16.46 | 90 | 73 |  | -17 | 0.34
Melbourne 86338 | INSTALL Temperature Probe - Dry Bulb (Type Unknown S/N - 119005-34) Surface Observations | 2013-05-20 | 12.01 | 11.97 | 259 | 231 |  | -28 | -0.04
Mildura 76031 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 654) Surface Observations | 2012-06-27 | 10.7 | 10.91 | 172 | 124 |  | -48 | 0.21
Miles 42112 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0075) Surface Observations | 1997-07-10 | 12.75 | 13.27 | 148 | 163 |  | 15 | 0.52
Morawa 8296 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 86) Surface Observations | 1997-02-25 | 13.26 | 13.13 | 150 | 150 |  | 0 | -0.13
Moree 53115 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0447) Surface Observations | 2000-06-16 | 12.61 | 12 | 181 | 135 |  | -46 | -0.61
Mt Gambier 26021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0732) Surface Observations | 2009-08-27 | 8.96 | 8.75 | 363 | 396 |  | 33 | -0.21
Nhill 78015 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0623) Surface Observations | 2012-04-11 | 8.85 | 9.13 | 252 | 235 |  | -17 | 0.28
Normanton 29063 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0578) Surface Observations | 2001-04-10 | 21.62 | 21.68 | 169 | 113 |  | -56 | 0.06
Nowra 68072 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0548) Surface Observations | 2000-11-23 | 12.02 | 11.19 | 231 | 238 | * 1998-99 rain from Nowra 68048 | 7 | -0.83
Nuriootpa 23373 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0163) Surface Observations | 1996-08-28 | 8.79 | 8.66 | 239 | 236 | * 1994-95 rain from Nuriootpa 23321 | -3 | -0.13
Oodnadatta 17043 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-15) Surface Observations | 2012-04-17 | 14.99 | 15.75 | 109 | 61 |  | -48 | 0.76
Orbost 84145 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0569) Surface Observations | 2000-11-23 | 9.03 | 8.96 | 291 | 307 | * 1998-99 rain from Orbost 84030 | 16 | -0.07
Perth 9021 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 304) Surface Observations | 1994-06-20 | 12.7 | 13.22 | 235 | 240 |  | 5 | 0.52
Pt Perpendicular 68151 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0017) Surface Observations | 2015-02-05 | 14.61 | 14.68 | 285 | 270 |  | -15 | 0.07
Port Hedland 4032 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0607) Surface Observations | 2000-09-11 | 20.3 | 19.44 | 89 | 61 |  | -28 | -0.86
Port Lincoln 18192 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0517) Surface Observations | 2002-03-20 | 11.54 | 11.32 | 289 | 266 |  | -23 | -0.22
Port Macquarie 60139 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10337) Surface Observations | 2011-11-22 | 13.07 | 12.84 | 183 | 273 |  | 90 | -0.23
Rabbit Flat 15666 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0020) Surface Observations | 1997-05-27 | 16.44 | 17.68 | 76 | 122 | * 1995-96 rain from Rabbit Flat 15548 | 46 | 1.24
Richmond Qld 30161 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0200) Surface Observations | 1998-02-19 | 17.71 | 17.7 | 86 | 123 |  | 37 | -0.01
Richmond NSW 67105 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10515) Surface Observations | 2011-10-04 | 11.46 | 10.82 | 249 | 221 |  | -28 | -0.64
Rockhampton 39083 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0216) Surface Observations | 1993-04-01 | 16.98 | 16.81 | 156 | 160 |  | 4 | -0.17
Rutherglen 82039 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 308) Surface Observations | 1998-01-29 | 6.73 | 7.38 | 219 | 244 |  | 25 | 0.65
Sale 85072 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0141) Surface Observations | 1996-06-11 | 8.23 | 7.58 | 308 | 265 |  | -43 | -0.65
Scone 61363 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278/1) Surface Observations | 2011-10-25 | 10.3 | 9.64 | 215 | 197 |  | -18 | -0.66
Snowtown 21133 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0340) Surface Observations | 1998-04-02 | 9.24 | 9.27 | 200 | 216 |  | 16 | 0.03
St George 43109 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0194) Surface Observations | 1997-05-01 | 14.39 | 13.73 | 127 | 155 |  | 28 | -0.66
Sydney 66062 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10309) Surface Observations | 2011-06-07 | 15.09 | 14.72 | 272 | 261 |  | -11 | -0.37
Tarcoola 16098 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0222) Surface Observations | 1997-09-30 | 11.8 | 11.93 | 99 | 111 |  | 12 | 0.13
Tennant Creek 15135 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10125) Surface Observations | 2006-03-08 | 20.55 | 20.21 | 84 | 77 |  | -7 | -0.34
Thargomindah 45025 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0451) Surface Observations | 1999-07-21 | 15.76 | 15.84 | 110 | 100 |  | -10 | 0.08
Tibooburra 46126 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0167) Surface Observations | 1997-09-22 | 14.47 | 15.13 | 86 | 105 |  | 19 | 0.66
Townsville 32040 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0246) Surface Observations | 2002-09-17 | 19.68 | 20.37 | 175 | 150 |  | -25 | 0.69
Victoria River Downs 14825 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0319) Surface Observations | 2009-06-17 | 19.08 | 19.59 | 137 | 166 |  | 29 | 0.51
Wagga Wagga 72150 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - NONE) Surface Observations | 1994-10-21 | 8.89 | 9.02 | 246 | 226 |  | -20 | 0.13
Walgett 52088 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0202) Surface Observations | 1997-05-21 | 12.21 | 12.04 | 136 | 168 |  | 32 | -0.17
Wandering 10917 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 400) Surface Observations | 1998-12-11 | 9.45 | 9.42 | 265 | 241 |  | -24 | -0.03
Weipa 27045 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount ST2401 S/N - 0330) Surface Observations | 2000-11-11 | 22.49 | 21.72 | 287 | 240 |  | -47 | -0.77
Wilcannia 46012 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0113) Surface Observations | 2000-01-19 | 12.47 | 11.87 | 117 | 94 | * 1998-99 rain from Wilcannia 46043 | -23 | -0.6
Williamtown 61078 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 407) Surface Observations | 2016-09-02 | 12.86 | 13.22 | 205 | 269 |  | 64 | 0.36
Wilsons Prom 85096 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 587) Surface Observations | 2000-09-18 | 12.09 | 12.34 | 471 | 351 |  | -120 | 0.25
Woomera 16001 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10114) Surface Observations | 2011-06-28 | 13.36 | 13.24 | 107 | 75 |  | -32 | -0.12
Wyalong 50017 | INSTALL Temperature Probe - Dry Bulb (Type Rosemount S/N - 0397) Surface Observations | 1999-04-08 | 10.69 | 10.63 | 159 | 201 | * 1997-98 rain from Wyalong 73054 | 42 | -0.06
Yamba 58012 | INSTALL Temperature Probe - Dry Bulb (Type Temp Control TCBMP01 S/N - 10224) Surface Observations | 2007-09-20 | 15.81 | 15.86 | 358 | 310 |  | -48 | 0.05
Averages | All 101 temperature probe changes | 2005-01-22 08:48 | 13.4904 | 13.5627 | 201.8713 | 202.9307 | Averages | 1.0594 | 0.072277
| 75 Rosemount temperature probe changes | 2002-10-24 14:05 | 13.5953 | 13.6924 | 197.2933 | 199.3333 | Averages >1.06 | 33.3333 | 0.14896
| 26 non-Rosemount temperature probe changes | 2011-07-18 | 13.1877 | 13.1885 | 215.0769 | 213.3077 | Averages <1.06 | -28.1698 | 0.0028302
| 19 Temp Control temperature probe changes | 2010-10-04 20:13 | 12.5368 | 12.4611 | 220.3684 | 226.8947 | Above shows an average +1.06 rainfall
| 6 WIKA temperature probe changes | 2013-09-19 04:00 | 15.445 | 15.695 | 191 | 167.3333 | days in the two years after vs before probe
| 1990s (29 stations) | 1997-05-02 18:12 | 11.8245 | 12.01 | 179.3793 | 187.0345 | changes. The second column shows that
| 2000s (40 stations) | 2004-05-30 04:48 | 14.6788 | 14.688 | 214.85 | 220.1 | stations with more than a 1.06 increase in
| 2010s (32 stations) | 2012-11-14 21:45 | 13.5147 | 13.5631 | 206.0312 | 195.875 | rainfall days had an average minimum
| First two years 0-10C (21 stations) | 2002-05-03 22:51 | 7.9233 | 7.9995 | 267.8571 | 278.1429 | warming of 0.15C, while stations with less
| First two years 10-20C (68 stations) | 2005-11-05 20:07 | 13.8053 | 13.8997 | 185.3088 | 187.2353 | than a 1.06 change, or a decrease, had no
| First two years 20-30C (12 stations) | 2005-05-13 14:00 | 21.4483 | 21.3883 | 180.25 | 160.25 | change in averaged minima.
Station min | Most recent probe change before 2017 | Date | Av min 2 years before | Av min 2 years after | # of rain days 2 years before | # of rain days 2 years after | * | Change in rain days | Change in min
Formulas:
Date = AVERAGE(C2:[Date, row above])