## Station probes max
Station 40C+ days | Most recent probe change before 2017 | Date | # 40C+ days 10 years before | # 40C+ days 10 years after | # of rain days 10 years before | # of rain days 10 years after | * | Change in rain days | Change in 40C+ days
Adelaide 23090 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0626) Surface Observations | 2003-10-15 | 20 | 53 | 1162 | 1136 |  | -26 | 33
Alice Springs 15590 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278) Surface Observations | 2011-11-11 | 114 | 150 | 237 | 232 |  | -5 | 36
Bathurst 63291 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10287/1) Surface Observations | 2012-01-20 | 0 | 2 | 592 | 518 |  | -74 | 2
Bourke 48245 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 107822-6) Surface Observations | 2015-10-13 | 60 | 66 | 96 | 129 |  | 33 | 6
Brisbane 40842 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 212) Surface Observations | 2013-01-28 | - | - | 536 | 490
Broome 3003 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10281/1) Surface Observations | 2015-09-01 | 14 | 13 | 125 | 104 |  | -21 | -1
Bundaberg 39128 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10259) Surface Observations | 2010-07-01 | - | - | 723 | 807
Burketown 29077 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0736) Surface Observations | 2007-05-16 | 57 | 73 | 581 | 696 |  | 115 | 16
Cabramurra 72161 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 252) Surface Observations | 1998-12-11 | - | - | 1534 | 1193 | * 1996-97 rain from Cabramurra 72091
Cairns 31011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0738) Surface Observations | 2004-03-15 | 2 | 0 | 1548 | 1639 |  | 91 | -2
Camooweal 37010 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - NONE) Surface Observations | 2003-03-18 | 321 | 371 | 410 | 564 |  | 154 | 50
Cape Bruny 94198 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0492) Surface Observations | 2006-08-30 | - | - | 1953 | 2139
Cape Leeuwin 9518 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0381) Surface Observations | 2004-09-01 | - | - | 1601 | 1738
Cape Otway 90015 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10284) Surface Observations | 2010-11-11 | 2 | 1 | 1297 | 1304 |  | 7 | -1
Carnarvon 6011 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10508) Surface Observations | 2011-03-29 | 21 | 53 | 229 | 208 |  | -21 | 32
Ceduna 18012 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10134) Surface Observations | 2015-05-05 | 27 | 20 | 165 | 203 |  | 38 | -7
Charleville 44021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0488) Surface Observations | 2004-04-06 | 64 | 108 | 582 | 597 |  | 15 | 44
Dubbo 65070 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 10722-10) Surface Observations | 2011-11-15 | 22 | 34 | 550 | 522 |  | -28 | 12
Eddystone 92045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0665) Surface Observations | 2004-10-13 | - | - | 1334 | 1625
Esperance 9789 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0643) Surface Observations | 2010-03-03 | 20 | 18 | 932 | 980 |  | 48 | -2
Forrest 11052 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10102) Surface Observations | 2011-12-13 | 120 | 96 | 360 | 345 |  | -15 | -24
Gabo Island 84016 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10202) Surface Observations | 2007-11-29 | - | - | 1408 | 1454
Giles 13017 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0324) Surface Observations | 2009-08-26 | 11 | 16 | 390 | 431 |  | 41 | 5
Hobart 94029 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10238) Surface Observations | 2007-11-08 | 0 | 1 | 1452 | 1600 |  | 148 | 1
Horn Island 27058 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0719) Surface Observations | 2006-08-10 | - | - | 1340 | 1397
Inverell 56018 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10303) Surface Observations | 2009-10-08 | 0 | 3 | 777 | 795 | * Not ACORN | 18 | 3
Kalgoorlie 12038 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0772) Surface Observations | 2011-11-07 | 92 | 54 | 350 | 356 |  | 6 | -38
Kalumburu 1019 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 509) Surface Observations | 2001-08-10 | 20 | 21 | 822 | 975 |  | 153 | 1
Low Head 91293 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 555) Surface Observations | 2015-01-13 | - | - | 279 | 255
Mackay 33119 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-10) Surface Observations | 2013-03-06 | - | - | 597 | 522
Marble Bar 4106 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 604) Surface Observations | 2002-09-19 | 881 | 1021 | 486 | 418 |  | -68 | 140
Marree 17126 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0459) Surface Observations | 2001-06-27 | 337 | 416 | 364 | 325 |  | -39 | 79
Meekatharra 7045 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0174) Surface Observations | 2008-01-22 | 254 | 303 | 445 | 370 |  | -75 | 49
Mildura 76031 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 654) Surface Observations | 2012-06-27 | 46 | 71 | 367 | 334 |  | -33 | 25
Mt Gambier 26021 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0732) Surface Observations | 2009-08-27 | 13 | 18 | 1505 | 1556 |  | 51 | 5
Nhill 78015 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0623) Surface Observations | 2012-04-11 | 24 | 31 | 619 | 595 |  | -24 | 7
Oodnadatta 17043 | REPLACE Temperature Probe - Dry Bulb (Now WIKA TR40 S/N - 98197-15) Surface Observations | 2012-04-17 | 180 | 231 | 541 | 429 |  | -112 | 51
Pt Perpendicular 68151 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0017) Surface Observations | 2015-02-05 | 2 | 0 | 285 | 228 |  | -57 | -2
Port Hedland 4032 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0607) Surface Observations | 2000-09-11 | 306 | 376 | 351 | 309 |  | -42 | 70
Port Lincoln 18192 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0517) Surface Observations | 2002-03-20 | 17 | 31 | 1325 | 1360 |  | 35 | 14
Port Macquarie 60139 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10337) Surface Observations | 2011-11-22 | 1 | 2 | 661 | 838 |  | 177 | 1
Richmond NSW 67105 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 10515) Surface Observations | 2011-10-04 | 20 | 22 | 767 | 733 |  | -34 | 2
Scone 61363 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10278/1) Surface Observations | 2011-10-25 | 20 | 28 | 655 | 623 |  | -32 | 8
Sydney 66062 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10309) Surface Observations | 2011-06-07 | 4 | 3 | 797 | 826 |  | 29 | -1
Tennant Creek 15135 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10125) Surface Observations | 2006-03-08 | 136 | 199 | 515 | 523 |  | 8 | 63
Townsville 32040 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount ST2401 S/N - 0246) Surface Observations | 2002-09-17 | 3 | 1 | 882 | 939 |  | 57 | -2
Victoria River Downs 14825 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 0319) Surface Observations | 2009-06-17 | 194 | 266 | 568 | 538 |  | -30 | 72
Williamtown 61078 | REPLACE Temperature Probe - Dry Bulb (Now Rosemount S/N - 407) Surface Observations | 2016-09-02 | 2 | 9 | 96 | 148 |  | 52 | 7
Woomera 16001 | REPLACE Temperature Probe - Dry Bulb (Now Temp Control TCBMP01 S/N - 10114) Surface Observations | 2011-06-28 | 105 | 123 | 267 | 249 |  | -18 | 18
Averages | 39 temperature probe changes | 2009-04-01 08:00 | 90.5641 | 110.359 | 619.3077 | 632.6923 | Averages | 13.3846 | 19.7949
| 23 Rosemount temperature probe changes | 2007-07-04 09:23 | 118.5652 | 144.8696 | 655.0435 | 671.087 | Averages > -1.08 | 73.8235 | 8.1765
| 16 non-Rosemount temperature probe changes | 2011-10-03 22:30 | 50.3125 | 60.75 | 567.9375 | 577.5 | Averages < -1.08 | -33.3182 | 28.7727
| 13 Temp Control temperature probe changes | 2011-05-25 12:55 | 41.7692 | 49.3077 | 607.6923 | 627.6923 | Above shows an average +13.38 rainfall
| 3 WIKA temperature probe changes | 2013-04-25 08:00 | 87.3333 | 110.3333 | 395.6667 | 360 | days in the 10 years after vs before probe
| 2000s (18 stations) | 2005-04-09 09:20 | 146.4444 | 182.0556 | 786.9444 | 820.6111 | change. The second column shows that
| 2010s (21 stations) | 2012-08-28 17:09 | 42.6667 | 48.9048 | 475.619 | 471.619 | stations with more than a +13.38 increase
| First 10 years < average 91 days (27 stations) | 2009-12-24 11:33 | 18.2222 | 25.8519 | 713.2963 | 741.3704 | in rainfall days had an average 8.18 more
| First 10 years > average 91 days (12 stations) | 2007-08-09 06:00 | 253.3333 | 300.5 | 407.8333 | 388.1667 | 40C+ days, while stations with less than a
+13.38 change, or a decrease, had an
averaged 28.77 more days of 40C+.
Station 40C+ days | Most recent probe change before 2017 | Date | # 40C+ days 10 years before | # 40C+ days 10 years after | # of rain days 10 years before | # of rain days 10 years after | * | Change in rain days | Change in 40C+ days
Note : probe changes in recent years might not be counted over 10 years but however many years available. If a station probe change is in 2015, for example, the two
years before and two years after to 2017 are counted, with corresponding years for rainfall days. Stations with no 40C+ days are not averaged.